Electrical Safety Checklist (6-Month & Annual)

| Electrical Checklist for: |  |
| --- | --- |
| Date: |  |

## A. Quick Overview

Record at a glance when your last checks were completed and when the next ones are due:

| Last electrical inspection: | Next due: |
| --- | --- |
| Last Test & Tag: | Next due: |
| Last self-check: | Next due: |
| Reviewed by: | Date: |
| Notes: |  |

## B. Six-Month Visual Self-Check List

Complete a visual inspection every 6 months (or annually for low-use buildings):

Appliance leads – frayed or damaged?

Lights – flickering or not working?

Sockets – loose, cracked, or faulty?

Fuseboard – covers/switches intact and labelled?

Extension leads – not used as permanent wiring?

Low-level heaters – protective guards or warning signage in place?

Residual Current Device - RCD (if fitted) – does the test button work?

## C. Annual or Less Frequent Checks

These checks should be scheduled annually or less frequently, depending on requirements:

Full electrical installation inspection by a licensed electrician (every 5 years). Certificate kept on file and switchboard labelled.

Portable appliance Test & Tag (annually, or up to 5 years in very low-use settings)..

## D. Summary Table

|  | Frequency | Who | Notes |
| --- | --- | --- | --- |
| Visual self-check (appliances, sockets, heaters) | Every 6 months | Local volunteer | Use checklist on previous page, note actions |
| Test & Tag (portable appliances) | Annually | Competent person/service | Visible tags, record kept |
| Full electrical inspection | Every 5 years | Licensed electrician | Certificate required |